# Attachment A — Site Data Sheet (Fill-In Template)

Companion to ESS-RFQ-001 Rev 0.1 and ESS-BOD-001 Rev 0.2. Complete all fields before release to bidders under NDA. Fields marked with a BOD reference close or feed the corresponding open item. Enter “TBD + responsible party + date” for any value not yet available — do not leave blank at release.

| Parameter | Value (fill in) | Source / Reference |
| --- | --- | --- |
| 1. Site Identification |  |  |
| Site name / designation | ____________________ | Buyer |
| Street address | ____________________ | Buyer |
| Parcel / coordinates (lat, long) | ____________________ | Survey / GIS |
| Site elevation (ft, NAVD88) | ____________________ | Survey |
| AHJ (fire) — name, contact | ____________________ | Buyer |
| AHJ (building/electrical) — name, contact | ____________________ | Buyer |
| Adopted IFC edition | ____________________ | AHJ (BOD F-1) |
| Adopted NFPA 1 / 855 edition | ____________________ | AHJ (BOD F-1) |
| Adopted NEC edition | ____________________ | AHJ (BOD F-1) |
| 2. Climate / Ambient Design Conditions |  |  |
| Design dry bulb, max (°F, 0.4%) | ____________________ | ASHRAE climatic data |
| Coincident wet bulb (°F) | ____________________ | ASHRAE climatic data |
| Design dry bulb, min (°F, 99.6%) | ____________________ | ASHRAE climatic data |
| Design wet bulb, max (°F, 0.4%) | ____________________ | ASHRAE climatic data |
| Relative humidity range (%) | ____________________ | ASHRAE / NOAA |
| Solar load basis | ____________________ | ASHRAE |
| Corrosive atmosphere class (coastal) | ____________________ | ISO 9223 / site assessment |
| 3. Wind / Storm |  |  |
| Basic wind speed, Vult (mph) | ____________________ | ASCE 7 hazard tool |
| ASCE 7 edition / risk category | ____________________ | Local building code |
| Exposure category | ____________________ | Site assessment |
| Wind-borne debris region? (Y/N) | ____________________ | ASCE 7 / local code |
| Hurricane shutdown/securement notes | ____________________ | Buyer ops plan |
| 4. Seismic |  |  |
| Ss / S1 (mapped accelerations) | ____________________ | USGS / ASCE 7 hazard tool |
| Site class | ____________________ | Geotechnical report |
| SDS / SD1 (design accelerations) | ____________________ | Calc per ASCE 7 |
| Seismic design category | ____________________ | Calc per ASCE 7 |
| 5. Flood / Drainage |  |  |
| FEMA flood zone | ____________________ | FIRM panel |
| FIRM panel no. / effective date | ____________________ | FEMA map service |
| Base flood elevation (ft, NAVD88) | ____________________ | FIRM |
| Required min. equipment mounting elevation (ft) | ____________________ | BFE + freeboard per local code |
| Site drainage / ponding notes | ____________________ | Civil |
| 6. Geotechnical (BOD C-1) |  |  |
| Geotech report available? (Y/N, date, firm) | ____________________ | Buyer |
| Allowable bearing pressure (psf) | ____________________ | Geotech report |
| Foundation type assumption (pile / pad) | ____________________ | Geotech (BOD C-1: pile assumed until proven) |
| Groundwater depth (ft) | ____________________ | Geotech report |
| Frost depth (in) | ____________________ | Local code |
| 7. BESS Yard |  |  |
| Yard area available (ft × ft) | ____________________ | Site plan |
| Distance to nearest building (ft) | ____________________ | Site plan (FMDS 1-20 / HC-3) |
| Distance to generation island (ft) | ____________________ | Site plan |
| Distance to switchgear / MV equipment (ft) | ____________________ | Site plan |
| Distance to property line / public way (ft) | ____________________ | Site plan |
| Inter-container spacing basis | ____________________ | BOD SEP-1 (propagation assumed) or vendor G-2a report |
| Fire apparatus access route / width | ____________________ | Fire code / AHJ |
| Hydrant / water supply location & flow | ____________________ | Utility / fire dept. |
| Blast barrier requirement? (Y/N, basis) | ____________________ | AHJ / HMA (BOD §4.3) |
| 8. Electrical Interfaces |  |  |
| DC bus nominal voltage / window (V) | ____________________ | Package 2 design (BOD §2) |
| PCS supplier / model (Package 2) | ____________________ | Buyer award |
| Aux power available to yard (V, ϕ, A) | ____________________ | Electrical one-line |
| Emergency safety-system power source (BP-1/BP-2) | ____________________ | Backup power design — independent of BESS |
| Grounding system / soil resistivity (Ω·m) | ____________________ | Electrical / geotech |
| 9. Controls / Telemetry Interfaces |  |  |
| Protocol (Modbus TCP / IEC 61850) | ____________________ | Buyer decision T-2 |
| Network demarcation point | ____________________ | Telemetry architecture |
| Constantly attended alarm location | ____________________ | Buyer ops (BOD §6.2) |
| First-responder read-only display location | ____________________ | ERP (BOD §6.6) |
| 10. Logistics |  |  |
| Delivery route restrictions (weight/height) | ____________________ | DOT / route survey |
| Crane / SPMT laydown area | ____________________ | Site plan |
| Receiving constraints / hours | ____________________ | Buyer ops |
| Target delivery window | ____________________ | Project schedule |

Completed by: ____________________    Date: ____________    Checked by: ____________________    Date: ____________